| Place tick in applicable box | Ok | Action |
| --- | --- | --- |
| Planning/budgeting |
| Review maintenance budgets |  |  |
| Schedule any replacement/refurb work |  |  |
| Track surfaces |
| Pressure wash the track surface, including all runways. |  |  |
| Wash through all drains and pits. |  |  |
| Check fencing around track for damage. |  |  |
| Check all track markings and lines for wear. |  |  |
| Commission a track surface test from a UKA approved Track & Field consultant (every 5 years) |  |  |
| Plan professional track clean (if identified in consultant report) |  |  |
| Plan surface repairs/resurfacing/replacement work if identified by consultant track surface report |  |  |
| Drain the steeplechase water jump and insulate the feed pipes and valves with a waterproof material. |  |  |
| Check drains are running clear and clear and clean |  |  |
| Commission regular servicing of cage and netting from a UKA approved supplier/consultant. |  |  |
| Place tick in applicable box | Ok | Action |
| Check the correct alignment of cage and gates. |  |  |
| Check netting for damage or rot. Repair and overhaul as necessary. |  |  |
| Field Events |
| Raise the netting off the ground during winter so it is not lying in standing water |  |  |
| Treat and prepare the infield for the following season. |  |  |
| SP Re-paint stopboard, rim, and extension lines. |  |  |
| Inspect the circle and repair the rim and surface where necessary. |  |  |
| Lon/Triple Jump: Replace the take-off boards. |  |  |
| Repair pit covers if required. Top up with sand in all landing areas |  |  |
| High Jump: Turn the cells around and check for any bottoming. |  |  |
| Repair/replace spike mat if necessary. |  |  |
| Check and repair any damage to base pallets. |  |  |
| PV - 1. Turn cells around and check for bottoming. |  |  |
| Place tick in applicable box | Ok | Action |
| Repair/replace spike mat if necessary. |  |  |
| Check there is an adequate supply of suitable protective matting to cover any hard areas around the landing area. |  |  |
| Re-paint the vaulting box and datum line. |  |  |
| Commission regular servicing of PV/HJ landing areas from a UKA approved supplier/consultant |  |  |
| Equipment |
| Review storage arrangements, accessibility, etc. |  |  |
| Re-paint all steeplechase barrier tops and check for signs of rot. Also check bases for rust. |  |  |
| Check each hurdle for damage and repair as necessary. Spray each height adjustment stem and weight channel with WD40 |  |  |
| Check all track & field equipment for loss or damage. and replace/renew as appropriate |  |  |

# Text boxes

Athletics Facility Annual Checklist			Name of Facility:      						Year:    20_____

The areas below should be checked on an annual basis with any action areas being planned into a programme of maintenance.

Comments/Actions:

Name:							Signature:						Date: